Energy Copilot Platform

Page 8 & Cross-Page IoT Enrichment

Power BI Desktop — Implementation Guide

DAX v44 + v45  |  2026-05-07

ℹ  This guide covers: (1) Importing DAX measures, (2) Building Page 8 from scratch, (3) Adding live IoT cards to Pages 2 and 7. Complete in order — DAX first, then visuals.

SECTION 1 — Import DAX Measures

Import both DAX files in order. All measures must be in the model before building visuals.

1.1  DAX v44 — Page 8 IoT Monitoring

File: semantic-model/53_dax_v44_page8_iot.dax

ℹ  v44 contains all measures for Page 8: KPI cards (C1–C4) and trend visuals (V1–V4).

| Measure Prefix | Home Table | Count | Used On |
| --- | --- | --- | --- |
| C1_, C2_, C3_, C4_ | iot_hot_readings | 12 | Page 8 KPI cards |
| V1_, V2_, V3_, V4_ | gold_iot_realtime | 14 | Page 8 trend visuals |
| Summary_, Daily_ | gold_iot_daily_summary | 5 | Page 8 summaries |
| Filter_ | gold_iot_realtime | 1 | Page 8 sensor slicer |

How to import:

1.  Open the .dax file
      in Notepad, VS Code, or any text editor

2.  Power BI Desktop → Modeling tab
      → click 'New measure'

3.  Copy each measure block
      between the // ─── separator lines

4.  Paste into the measure formula bar
      press Enter to save

5.  Rename the measure
      right-click → Rename if needed

6.  Set home table
      in the measure properties panel (right side)

⚠  Do NOT paste the comment lines (// ...) as a measure — only paste the DAX expression.

1.2  DAX v45 — Cross-Page IoT Enrichment

File: semantic-model/54_dax_v45_cross_page_iot.dax

ℹ  v45 adds live IoT cards to Pages 2 and 7. All v45 measures go to home table: iot_hot_readings.

| Measure | Returns | Used On |
| --- | --- | --- |
| IoT_Building_kW_Now | Latest building kW (number) | Page 2 |
| IoT_Building_kW_Display | "87.3 kW ✓ Normal" | Page 2 |
| IoT_Building_kW_Color | Hex color string | Page 2 conditional format |
| IoT_HVAC_kW_Now | Latest HVAC kW (number) | Page 2 |
| IoT_HVAC_kW_Display | "34.2 kW — 39% of total" | Page 2 |
| IoT_HVAC_kW_Color | Hex color string | Page 2 conditional format |
| IoT_Delta_T_Live | Supply−Return °C (number) | Page 7 |
| IoT_Delta_T_Label | "11.2°C — ✓ Optimal range" | Page 7 |
| IoT_Delta_T_Color | Hex color string | Page 7 conditional format |
| IoT_Zone_Compliance_Live | % zones in setpoint (number) | Page 7 |
| IoT_Zone_Compliance_Label | "91% zones OK — ✓ Good" | Page 7 |
| IoT_CO2_Live | Max CO₂ ppm (number) | Page 7 |
| IoT_CO2_Label | "847 ppm — IDA 2 Good" | Page 7 |
| IoT_Building_Has_Sensors | TRUE / FALSE | All pages (visibility) |
| IoT_Last_Reading_Age_Label | "Updated 3 min ago" | Tooltips |

SECTION 2 — Build Page 8: IoT Real-Time Monitoring

Page 8 is a new page. Create it from scratch — do not duplicate an existing page.

2.1  Create the Page

1.  Right-click any page tab
      → 'New page' → rename to '08_IoT_Monitoring'

2.  Format page
      right-click canvas → Format page → set background (08_iot_monitoring.png, 0% transparency)

3.  Layout
      Use a 2-row layout: top row = 4 KPI cards, bottom = 4 trend visuals

2.2  Add Slicers

S1 — Building Selector

| Setting | Value |
| --- | --- |
| Visual type | Slicer |
| Field | silver_building_master[building_name] |
| Style | Dropdown |
| Position | Top-left (consistent with all pages) |

S2 — Date Range

| Setting | Value |
| --- | --- |
| Visual type | Slicer |
| Field | gold_iot_realtime[timestamp] |
| Style | Between (date range) |
| Default | Last 24 hours |

S3 — Sensor Type Filter

| Setting | Value |
| --- | --- |
| Visual type | Slicer |
| Field | gold_iot_realtime[sensor_type] |
| Style | List (multi-select) |
| Purpose | Filter V1–V4 visuals only — NOT C cards |

⚠  S3 must NOT filter C1–C4 cards. Set edit interactions after adding visuals (Section 2.5).

2.3  KPI Cards (C1–C4) — Top Row

Add four New Card visuals in a horizontal row at the top of the canvas.

C1 — Real-Time Building Power

| Field | Value |
| --- | --- |
| Callout value | [C1_Building_kW_Display] |
| Reference label | "Building Power (Live)" |
| Cond. font color | [C1_Building_kW_Color] → green / orange / red |
| Tooltip | [IoT_Last_Reading_Age_Label] |
| Font size | 24pt callout |

C2 — Zone Comfort Compliance

| Field | Value |
| --- | --- |
| Callout value | [C2_Zone_Compliance_Display] |
| Reference label | "Zone Compliance (24h)" |
| Cond. font color | [C2_Zone_Compliance_Color] → ≥90% green / 75–89% orange / <75% red |
| Font size | 24pt callout |

C3 — CO₂ Level

| Field | Value |
| --- | --- |
| Callout value | [C3_CO2_Display] |
| Reference label | "Air Quality" |
| Cond. font color | [C3_CO2_Color] → <1000 green / <1500 orange / ≥1500 red |
| Font size | 20pt callout |

C4 — Active Alerts + Estimated Cost

| Field | Value |
| --- | --- |
| Callout value | [C4_Active_High_Alerts] |
| Reference label | [C4_Alert_Label] → 'All Clear' or '3 High Alerts — Est. €47' |
| Cond. background | [C4_Alert_Color] → 0 alerts green / 1–2 orange / 3+ red |
| Font size | 32pt callout ← make this the largest card |

2.4  Trend Visuals (V1–V4) — Bottom Area

V1 — 24h Power Trend (Line Chart)

| Field | Value |
| --- | --- |
| Visual type | Line Chart |
| X-axis | gold_iot_realtime[timestamp] (15-min buckets) |
| Line 1 | [V1_Building_kW] — label: 'Total Building kW' — color: blue |
| Line 2 | [V1_HVAC_kW] — label: 'HVAC kW' — color: teal |
| Line 3 | [V1_Baseline_kW] — label: 'Baseline' — color: grey dashed |
| Legend | Show — 3 series |
| Title | "Building & HVAC Power — Last 24h" |

V2 — Sensor Uptime Matrix

| Field | Value |
| --- | --- |
| Visual type | Matrix |
| Rows | gold_iot_realtime[sensor_location] |
| Columns | gold_iot_realtime[sensor_type] |
| Values | [V2_Sensor_Uptime_Pct] |
| Cond. background | [V2_Uptime_Color_Index] → 1=green(≥95%) / 2=yellow / 3=red(<80%) |
| Title | "Sensor Uptime by Zone" |

V3 — Zone Compliance Matrix

| Field | Value |
| --- | --- |
| Visual type | Matrix |
| Rows | gold_iot_realtime[sensor_location] |
| Columns | gold_iot_realtime[sensor_type] (filter to comfort sensors) |
| Values | [V3_Zone_Compliance_Pct] |
| Cond. background | [V3_Zone_Compliance_Color] → ≥90% green / 75–89% orange / <75% red |
| Title | "Zone Comfort Compliance — Last 24h" |

V4 — Alert Table with Cost Estimate

| Column | Source | Display Name |
| --- | --- | --- |
| building_id | gold_iot_realtime[building_id] | Building |
| sensor_location | gold_iot_realtime[sensor_location] | Location |
| sensor_type | gold_iot_realtime[sensor_type] | Sensor |
| reading_value_avg | gold_iot_realtime[reading_value_avg] | Reading |
| anomaly_severity_window | gold_iot_realtime[anomaly_severity_window] | Severity |
| action_recommended | gold_iot_realtime[action_recommended] | Action |
| Est. Cost | [V4_Cost_Label] (measure) | Est. Cost |

ℹ  Sort default: [V4_Severity_Sort] ASC — High alerts appear first. Add visual-level filter: anomaly_severity_window IN {High, Medium}.

2.5  Edit Interactions — Page 8

| Source | Target | Interaction | Reason |
| --- | --- | --- | --- |
| S1 Building | All C + V visuals | Filter ✅ | Building context applies everywhere |
| S2 Date | V1, V2, V3, V4 | Filter ✅ | Trend visuals respect date range |
| S2 Date | C1, C2, C3, C4 | None ❌ | Cards are always live — date irrelevant |
| S3 Sensor type | V1, V2, V3, V4 | Filter ✅ | Drill into specific sensor category |
| S3 Sensor type | C1, C2, C3, C4 | None ❌ | Cards use fixed sensor types — do not blank them |
| V4 Alert table | V1 | Filter ✅ | Click alert row to highlight that sensor in trend |
| V4 Alert table | V2, V3 | None ❌ |  |

SECTION 3 — Add Live IoT Cards to Page 2

Page 2 already exists (Building Energy Overview). Add two new live IoT cards alongside the existing historical kWh cards. Do NOT remove or modify existing visuals.

ℹ  These cards ignore the date slicer — they always show the latest sensor reading. This is intentional: the date slicer controls historical data; IoT cards show 'right now'.

Card A — Real-Time Building Power

| Field | Value |
| --- | --- |
| Visual type | Card (New) |
| Callout value | [IoT_Building_kW_Now] (format: 0.0) |
| Reference label | [IoT_Building_kW_Display] |
| Cond. font color | [IoT_Building_kW_Color] |
| Tooltip | [IoT_Last_Reading_Age_Label] |
| Card title | "Live Building Power" |
| Visual-level filter | [IoT_Building_Has_Sensors] = TRUE (hides card if no IoT data) |

Card B — Live HVAC Load

| Field | Value |
| --- | --- |
| Visual type | Card (New) |
| Callout value | [IoT_HVAC_kW_Now] (format: 0.0) |
| Reference label | [IoT_HVAC_kW_Display] |
| Cond. font color | [IoT_HVAC_kW_Color] → red if HVAC >60% of building |
| Tooltip | [IoT_HVAC_Share_Of_Building_Pct] |
| Card title | "Live HVAC Load" |
| Visual-level filter | [IoT_Building_Has_Sensors] = TRUE |

Edit Interactions — Page 2 IoT Cards

| Slicer / Visual | IoT Cards | Interaction |
| --- | --- | --- |
| S1 Building slicer | Both IoT cards | Filter ✅ — shows data for selected building |
| Date slicer | Both IoT cards | None ❌ — IoT cards always live |

SECTION 4 — Add Live IoT Cards to Page 7

Page 7 already exists (HVAC Analysis / Building Envelope). Add three live IoT cards in a new 'Live Sensors' row. Do NOT modify existing visuals.

Card A — HVAC Supply/Return Delta-T

| Field | Value |
| --- | --- |
| Visual type | Card (New) |
| Callout value | [IoT_Delta_T_Live] (format: 0.0 '°C') |
| Reference label | [IoT_Delta_T_Label] |
| Cond. font color | [IoT_Delta_T_Color] |
| Card title | "HVAC Delta-T (Live)" |
| Visual-level filter | [IoT_Building_Has_Sensors] = TRUE |

ℹ  Delta-T = supply temp − return temp. Optimal: 8–15°C (EN 14825). Buildings without supply/return sensors show 'No supply/return sensors' — correct behavior.

Card B — Zone Comfort Compliance (Live)

| Field | Value |
| --- | --- |
| Visual type | Card (New) |
| Callout value | [IoT_Zone_Compliance_Live] (format: 0%) |
| Reference label | [IoT_Zone_Compliance_Label] |
| Cond. font color | [IoT_Zone_Compliance_Color] |
| Card title | "Zone Comfort (Live 24h)" |

Card C — CO₂ Level (Live)

| Field | Value |
| --- | --- |
| Visual type | Card (New) |
| Callout value | [IoT_CO2_Live] (format: #,##0 'ppm') |
| Reference label | [IoT_CO2_Label] |
| Cond. font color | [IoT_CO2_Color] |
| Card title | "CO₂ Level (Live)" |

ℹ  CO₂ thresholds follow EN 13779 / EN 16798 IDA classification — same standard referenced in CSRD sustainability reporting on Page 6.

Edit Interactions — Page 7 IoT Cards

| Slicer | IoT Cards | Interaction |
| --- | --- | --- |
| S1 Building slicer | All 3 IoT cards | Filter ✅ |
| Date slicer | All 3 IoT cards | None ❌ — always live |

SECTION 5 — Full Validation Checklist

Run through all items after completing Sections 1–4. Tick each box when confirmed.

5.1  Data Model

| ☐ | [Model] iot_hot_readings → silver_building_master relationship exists in Model view |
| --- | --- |
| ☐ | [Model] iot_anomaly_alerts → silver_building_master relationship exists |
| ☐ | [Model] Both relationships: Many-to-One, Single direction, Active |
| ☐ | [DAX] All v44 measures imported (C1_, C2_, C3_, C4_, V1_, V2_, V3_, V4_, Summary_) |
| ☐ | [DAX] All v45 measures imported (IoT_Building_, IoT_HVAC_, IoT_Delta_T_, IoT_Zone_, IoT_CO2_) |
| ☐ | [DAX] No #ERROR shown in any measure in the model |

5.2  Page 8

| ☐ | [C1] Shows kW value (50–300 kW range) — green in normal hours |
| --- | --- |
| ☐ | [C1] Turns orange / red when simulator injects power spike |
| ☐ | [C2] Shows % value (70–100%) — '95% zones OK' format |
| ☐ | [C3] Shows CO₂ ppm with quality label (Good / Fair / Poor) |
| ☐ | [C4] Shows integer alert count — 'All Clear' or 'N Alerts — Est. €X' |
| ☐ | [C4] Background turns red when active high alerts > 0 |
| ☐ | [V1] Shows 3 series: blue (building kW), teal (HVAC kW), grey dashed (baseline) |
| ☐ | [V1] 96 data points per series per building (24h × 4 per hour) |
| ☐ | [V2] Matrix shows uptime % per zone × sensor type — no blank cells for active sensors |
| ☐ | [V3] Matrix shows compliance % — at least one amber/red cell if anomalies exist |
| ☐ | [V4] Only High and Medium rows visible — sorted by severity (High first) |
| ☐ | [V4] Est. Cost column populated — format 'Est. €12' or '< €1' |
| ☐ | [S3] Sensor type slicer updates V1–V4 but NOT C1–C4 |
| ☐ | [Interact] Date slicer does NOT change C1–C4 values |
| ☐ | [Interact] Building slicer updates all visuals on the page |

5.3  Pages 2 and 7

| ☐ | [Page 2] Live Building Power card shows kW value — not blank |
| --- | --- |
| ☐ | [Page 2] Live HVAC Load card shows kW + % of total |
| ☐ | [Page 2] Changing date slicer does NOT update IoT cards |
| ☐ | [Page 2] Switching building in slicer updates both historical AND IoT cards |
| ☐ | [Page 7] HVAC Delta-T card shows value OR 'No supply/return sensors' |
| ☐ | [Page 7] Zone Compliance card shows % or 'No comfort sensors' |
| ☐ | [Page 7] CO₂ card shows ppm with IDA label |
| ☐ | [Page 7] Date slicer does NOT update any IoT card |
| ☐ | [Cross-page] Building slicer works identically on Pages 2, 7, and 8 |
| ☐ | [Cross-page] No BLANK, #ERROR, or (Blank) text visible in any new card |

SECTION 6 — Quick Reference: Measure → Visual Mapping

| Measure | Page | Visual | Field Slot |
| --- | --- | --- | --- |
| [C1_Building_kW_Display] | 8 | Card C1 | Callout value |
| [C1_Building_kW_Color] | 8 | Card C1 | Conditional font color |
| [C2_Zone_Compliance_Display] | 8 | Card C2 | Callout value |
| [C3_CO2_Display] | 8 | Card C3 | Callout value |
| [C4_Active_High_Alerts] | 8 | Card C4 | Callout value |
| [C4_Alert_Label] | 8 | Card C4 | Reference label |
| [C4_Alert_Color] | 8 | Card C4 | Conditional background |
| [V1_Building_kW] | 8 | Line chart V1 | Y-axis line 1 |
| [V1_HVAC_kW] | 8 | Line chart V1 | Y-axis line 2 |
| [V1_Baseline_kW] | 8 | Line chart V1 | Y-axis line 3 (dashed) |
| [V2_Sensor_Uptime_Pct] | 8 | Matrix V2 | Values |
| [V3_Zone_Compliance_Pct] | 8 | Matrix V3 | Values |
| [V4_Cost_Label] | 8 | Table V4 | Extra column |
| [V4_Severity_Sort] | 8 | Table V4 | Sort order |
| [IoT_Building_kW_Display] | 2 | Card A | Callout value |
| [IoT_HVAC_kW_Display] | 2 | Card B | Callout value |
| [IoT_Delta_T_Label] | 7 | Card A | Reference label |
| [IoT_Zone_Compliance_Label] | 7 | Card B | Reference label |
| [IoT_CO2_Label] | 7 | Card C | Reference label |

Energy Copilot Platform  |  DAX v44 + v45  |  Estimated total implementation time: ~2.5 hours  |  2026-05-07