EnergyLens - Report Methodology at a Glance

What the 10-page Power BI report is built on - one-page executive reference.

## Foundation

Microsoft Fabric medallion architecture (Bronze raw -> Silver clean -> Gold business logic) feeding a DirectLake semantic model (EnergyCopilotModel, ~213 measures). Gold is mirrored to Supabase mv_* for the web app.

## The 10 pages

| 1 Portfolio | EUI benchmark, cost & CO2 totals - where the savings sit. |
| --- | --- |
| 2 Building | EUI gauge, load profile, weather sensitivity, base load. |
| 3 Anomalies | 6 detection rules; spikes vs drift; estimated EUR impact. |
| 4 Forecast & Recs | 'do-nothing' forecast; measures scored on compliance + NPV + CO2 + payback, with an NPV viability gate. |
| 5 Occupancy | base (empty) vs occupied load; ghost-load cost. |
| 6 Sustainability | Scope 1/2/3; carbon intensity vs CRREM; EPC/MEPS. |
| 7 HVAC | supply-return delta-T, runtime vs occupancy, COP/JAZ. |
| 8 IoT | live power, CO2/comfort by zone, sensor uptime, FDD cost. |
| 9 Battery | dispatch vs tariff, self-consumption, payback (Measured/Modeled/Prospect). |
| 10 Solar | energy-basis PR, self-consumption vs export, specific yield, est. underperformance loss. |

## Key methodology

PV PR is energy-basis (sum(gen) / (kWp x sum(reference-yield))), clamped <=0.95, generation-weighted; PR>1 is a data error, never real output.

Recommendations: compliance-weighted score, but an NPV<=0 optional investment is gated to INFORMATIONAL (annuity 12 -> NPV<=0 == payback>=12 yr); compliance-mandated retrofits exempt.

GHG Scope 2 uses a year-indexed grid factor (DE 0.363 location / 0.725 residual); carbon intensity tracked vs the CRREM stranding line.

Thresholds are screening-grade, product-owner approved (2026-06-18); every modelled figure is labelled Est.

## Data basis

Largely synthetic data with realistic structure. Real-telemetry exceptions are called out: the solar telemetry rollup (PR ~0.80) and three measured battery dispatches. Measured / Modeled / Prospect / Estimated tags keep real and modelled figures distinct.