EnergyLens

How every number in the platform is produced: methods, formulas, assumptions, and sources. Version 1.0 · 2026-07-03 · Audited against the live codebase and the live Supabase mirror on this date. Audience: pilot customers' technical reviewers, Energieberater partners, and future engineering hires.

Honesty statement. The current portfolio (B001–B010, plus residential B011) is a synthetic demonstration dataset generated to realistic engineering patterns. Every calculation documented here runs identically on real data; figures on synthetic buildings are labelled sample / estimated / data_basis throughout the product. No real-building performance is claimed.

TR ÖZET —  Bu doküman platformdaki her sayının nasıl üretildiğini anlatır: formüller, varsayımlar, kaynak dosyalar. Mevcut portföy sentetik demo verisidir ve ürün bunu her yerde açıkça etiketler. Her bölümün sonunda bu şekilde kısa Türkçe özet bulunur.

# Contents

- Platform architecture

- Platform-wide conventions & reference factors

- Calculation engines

- 3.1 Fabric data layer (notebooks) · 3.2 Backend service engines · 3.3 Frontend calculation libraries

- Web application — module by module

- Power BI report (10 pages)

- Access control & security

- Data provenance & the honesty layer

- Audit 2026-07-03 — fixes applied & pilot punch list

# 1. Platform architecture

EnergyLens is a two-tier product built on one calculation core:

┌──────────────────────────────────────────────┐

│            MICROSOFT FABRIC (paid tier)      │

Bills / CSV / PDF ──▶ │  Bronze (raw) → Silver (clean) → Gold (KPI)  │

IoT (BACnet/Modbus/   │  Spark notebooks 01…30 + Delta Lake          │──▶ Power BI

MQTT/REST edge agent) │  DirectLake semantic model (329 measures)    │    (embedded)

└───────────────┬──────────────────────────────┘

│ notebook 50 (materialize)

▼

┌──────────────────────────────────────────────┐

│        SUPABASE POSTGRES (free tier core)    │

Web uploads ───────▶ │  mv_* mirror tables + app schema (auth,      │

(Tier-1 path)        │  buildings, consumption, billing, alerts)    │

└───────────────┬──────────────────────────────┘

▼

┌──────────────────────────────────────────────┐

│  FastAPI backend (Azure Container Apps)      │

│  gold_read: Postgres-first, Fabric fallback  │

│  Next.js frontend (Vercel) + PBI embed       │

└──────────────────────────────────────────────┘

Medallion layers (Fabric). bronze_* holds raw, protocol-native ingestion; silver_* holds cleaned, typed entities (silver_building_master is the single building dimension); gold_* holds business-ready KPIs (gold_kpi_daily, gold_recommendations, gold_ghg_scope, gold_energy_ledger, gold_iot_fdd, gold_battery_simulation, residential gold tables, etc.). Ingestion, transformation and business logic are deliberately separated (one notebook = one responsibility) so any figure can be traced to one notebook.

The Postgres mirror. The production backend (Azure) cannot reach the Fabric SQL endpoint (port-1433 egress), and a paused Fabric capacity should never take the customer app down. Notebook 50_materialize therefore mirrors the gold tables into Supabase as mv_* tables. app/integrations/gold_read.py lets every service keep writing T-SQL: it rewrites [dbo].[gold_x] → mv_x, [date] → ("date"::date), ISNULL→COALESCE, TOP (n)→LIMIT, bit-flag = 0/1 → = false/true, and falls back to the original T-SQL against Fabric if Postgres fails. One query text, two engines.

Two data-entry tiers. Tier 1: upload-only (CSV / PDF bills) — KPIs computed in Postgres (§3.2.1), no Fabric required; this is the hardware-free wedge. Tier 2/3: edge agent (5 live protocols) or manual device config streaming into bronze_iot_readings, batch-rolled into gold (§3.1.10, §3.2.9) — Fabric EventStream (Phase B) is built but dormant at €0 until the first paying IoT customer.

TR ÖZET —  Mimari: Fabric (Bronze→Silver→Gold, Spark + DirectLake PBI) hesap çekirdeği; notebook 50 gold tabloları Supabase'e mv_* olarak aynalar; backend gold_read ile önce Postgres, olmazsa Fabric okur. Tier-1 (fatura yükleme) hiç Fabric'e dokunmadan Postgres'te KPI üretir — donanımsız wedge budur. IoT tarafı edge-agent → bronze → gold batch; streaming hazır ama ilk ödeyen müşteriye kadar kapalı (€0).

# 2. Platform-wide conventions & reference factors

These rules apply to every module; individual engines reference them.

R1 — Year-indexed, location-based grid emission factors. CO₂ from electricity always uses the factor of the building's country and the data's year (ref_grid_emission_factors in Fabric; verbatim mirror in backend/app/services/reference_factors.py): DE 2022 0.433 / 2023 0.386 / 2024-25 0.363 (UBA); TR 0.442 (TEİAŞ); AT 0.158, NL 0.290, FR 0.052, PL 0.660, EU avg 0.230 kg CO₂/kWh (IEA/EEA). A flat factor would blur "the grid got cleaner" with "the building improved" — auditors reject that for CSRD/CRREM. Each factor carries confidence + source into the UI.

R2 — Electricity tariffs. Non-household Eurostat blended averages (2025): DE 0.226, AT 0.190, NL 0.205, TR 0.085 (EPDK), EU 0.190 €/kWh. Used only where an actual metered cost is absent; the basis is always labelled (actual vs estimated).

R3 — The 40-year payback rule. A simple payback ≥ 40 years exceeds any equipment service life, so it is not a real financial payback — the measure is compliance- or CO₂-driven. Enforced in four places (defence in depth): notebook 06b nulls it in gold; backend finance_model.simple_payback and heating_assessment._plausible_pb return None; reportKit.fmtPayback and the /actions table render "—" / "Operational" for anything ≥ 40.

R4 — Ranges, not fake precision. Anything forward-looking (retrofit savings, subsidies, carbon prices, value uplift) is emitted as a low–high range with the driver stated (e.g. CapEx ±30% screening band, demand ±10% measured / ±25% estimated).

R5 — Basis labels. Every figure carries its provenance: measured / estimated / sample·simulated·telemetry (data_basis), actual vs estimated cost, EPC anchored flag, partial-year (reporting_months < 12) warnings on all annual reports.

R6 — No invented engineering. Heating physics uses the degree-day method an Energieberater uses; savings percentages come from cited literature bands (ITG Dresden 7–11% operational, ISO 50001 5–15% BMS, IEA setback benchmarks); anything assumed is marked [Tahmin]/"assumption" in code and tooltip.

TR ÖZET —  Tüm platformda ortak kurallar: yıl-endeksli ülke bazlı emisyon faktörleri (R1), Eurostat tarifeleri (R2), 40-yıl payback tavanı dört katmanda uygulanır (R3), ileriye dönük her sayı aralık olarak verilir (R4), her rakam kaynağını/etiketini taşır (R5), uydurma mühendislik yok — literatür bantları ve Gradtag yöntemi (R6).

# 3. Calculation engines

## 3.1 Fabric data layer (notebooks)

### 3.1.1 03_gold_kpi_engine — daily KPIs

Produces gold_kpi_daily (building × day): total_consumption_kwh, estimated_cost_eur, co2_emissions_kg, hdd_day/cdd_day, peak/base load, and the solar block. Key logic:

- Solar performance ratio (energy basis, IEC 61724). PR_day = generated_kwh / (kWp × ref_yield), where ref_yield = Σ(hourly avg irradiance W/m²)/1000 (peak-sun-hours for that day). Clamped at `PR_MAX_PLAUSIBLE = 0.95` (real arrays peak ~0.90; higher = sensor/data artefact); days with ref_yield < 0.5 kWh/m² (overcast) → NULL, not a fake PR. Verified live: MAX(avg_solar_pr) = 0.95, zero violations.

- Battery round-trip efficiency ≈ discharged/charged (LFP ~0.90–0.95).

- Self-consumption / self-sufficiency per the standard definitions (§KPI 5 of docs/business-logic/kpi-formulas.md).

### 3.1.2 03b_total_energy_ledger — total final energy (Path A root fix)

The single most important correctness decision in the data layer. The synthetic seed metered only electricity, so heating-heavy measures compared against an electricity-only bill produced physically impossible results ("savings 102–212% of the bill", heat-pump payback 529 yr, EUI 2–3× benchmarks). gold_energy_ledger (building × year × month) rebuilds the true total-final-energy bill:

U_eff   = 0.40·U_wall + 0.25·U_window + 0.20·U_roof + 0.15·U_floor      [W/m²K]

H_spec  = U_eff · C_ENV + 0.34 · (n50 / 20) · room_height               [W/m²K]   C_ENV = 1.5

q_heat  = H_spec · (annual_HDD_base15 · PHI_HDD) · 24 / 1000            [kWh/m²·yr]  PHI_HDD = 1.5

+ DHW by type (Hotel 35 … Office 8 kWh/m²·yr)

Space heat is distributed across months by HDD share; DHW evenly (/12). Carrier conversion: gas = heat / 0.90 (condensing boiler), district = heat delivered, heat-pump/VRF = heat / COP — already inside the electricity meter, so NOT re-added (informational column only). total_final_energy = electricity + gas_fuel + district_heat; costs use ref_fuel_tariffs (fallback DE gas 0.11 €/kWh, district 0.12). PHI_HDD (base-15 HDD → German 20/15 Gradtagzahl) and C_ENV are the two review knobs, parameterised in CELL 0 and product-owner approved (2026-06-25).

### 3.1.3 06_recommendation_engine + 06b_recommendation_calibration — the measures catalog

Stage 1 (06) generates ~14 measure types per building (LED, HVAC scheduling, BMS, insulation, CHP, heat pump, solar install, battery, sub-metering, deep retrofit, audit…) with savings, CapEx, grants, CO₂, payback, NPV (NPV ≈ saving × 12 − net_capex, ~20 yr @ 5%), and the §9c economic-viability gate (approved 2026-06-22): an *optional* measure with NPV ≤ 0 is demoted to INFORMATIONAL and can never rank MEDIUM/HIGH; compliance-mandated measures (heat pump, insulation, deep retrofit, audit) are exempt (they are regulation-driven, not ROI-driven).

Stage 2 (06b) re-bases everything on the total energy bill (ledger §3.1.2) and enforces physics: per-measure ceilings as % of total annual cost (LED 5%, scheduling 15%, BMS 10%, insulation 20%, CHP 22%, PV 25%, deep retrofit 35%…); sub-metering = enabler → saving 0; heat pump recomputed as a fuel switch (avoided gas € − extra electricity € at COP 3.2), and a heat pump that does not cut CO₂ (carbon-heavy grid, e.g. TR) has its saving nulled — it must not be sold as a decarbonisation win; an aggregate ceiling Σ(measures) ≤ 35% × total cost, scaled by EPC band (A 12% → E/F/G 35% headroom — an A-rated building cannot save a third of its bill); payback ≥ 40 yr → NULL (R3); CO₂ scaled proportionally with the € change.

Run order is load-bearing: 03b → 06 → 06b → 50 (materialize). 06 overwrites 06b's calibration whenever it re-runs, so 06b must always run last (this recurred — see §8).

*(Uncommitted work-in-progress on 06, found in this audit: BMS-aware CapEx — re-commissioning €2.5/m² + €6k base when a BMS exists vs €28/m² new install; kWh/m² saving ceilings for BMS (20) and scheduling (15) so energy-dense types aren't over-credited; and a multi-year → 12-month annualisation fix for the consumption base. Compiles clean; needs commit + Fabric run — §8.)*

### 3.1.4 09_ghg_scope_engine — GHG Protocol scopes

gold_ghg_scope (building × month): Scope 1 (gas 0.201 kg/kWh HHV-basis BEHG factor, diesel, refrigerant); Scope 2 location (grid factor R1) and market (supplier contract factor if on file, else AIB residual mix — per GHG Protocol Scope 2 Guidance the no-instrument fallback is residual mix, *not* the location average); Scope 3 category-structured estimate (disclosure_grade = false): Cat 1 embodied (area × ~700 kgCO₂e/m² / 60 yr amortisation / 12), plus (live model) Cat 3 fuel-energy, Cat 5 waste, Cat 6 travel, Cat 7 commuting, Cat 13 leased. Headline convention (2026-06-29 decision): operational carbon = S1 + S2 everywhere; full Scope-3-inclusive totals appear only in the GHG/ESRS reports, separately and labelled *estimated*. ⚠️ The live notebook computes 6 Scope-3 categories; the repo copy still has the older cat1+13 version — mirror pending (§8).

### 3.1.5 05_compliance_checker — regulatory flags

gold_compliance_results: GEG §71 heating renewable-compliance, GEG Anlage 7 U-value component checks (wall ≤ 0.24, roof ≤ 0.20 flat, window ≤ 1.30 W/m²K), EnEfG thresholds, EPBD/MEPS triage (worst bands: G→2030, F→2033), BEP-TR certificate checks, plus scores per framework.

### 3.1.6 10_crrem_pathway_loader — decarbonisation pathways

Loads *illustrative* 1.5 °C intensity pathways per asset type (2025→2050). Not the licensed CRREM dataset (that requires a CRREM licence agreement — module is built to swap the official points in one place). UI labels the curves indicative.

### 3.1.7 11_hvac_analytics_engine — HVAC & envelope gold

gold_hvac_analytics (280 rows live): rated-vs-actual COP (G1 recalibration), envelope insulation score anchored so the worst-stock building scores 0 (G2), CO₂ annualisation fix (R1 16.5k→7.1k), transmission-loss heat badge (G3/R2). Fixed 2026-06-21 during Page-7 finalisation.

### 3.1.8 11b/11c IoT processing + FDD — fault detection & €-quantified alerts

gold_iot_fdd (38 rows live): rules over sensor streams (HVAC temp deviation, CO₂ >1500 ppm, power >120% baseline, PV underperformance…). Cost logic (stated assumption, always shown "Est."): cost € = energy_impact_kwh × grid_price where the energy impact uses the CLAUDE.md waste bands (2–5 kW per °C HVAC deviation, 1–3 kW extra ventilation on CO₂ spikes, actual excess on power spikes; DE 0.20 / TR 0.14 €/kWh). Priority = severity weight (High 1.0 / Med 0.6 / Low 0.3) blended with cost normalised at €50. Verified live 1:1 against the app (portfolio 4 High / €81.14 on 2026-06-01).

### 3.1.9 16_gold_battery_simulation_v3_honest — battery scenarios (Page 9)

The honest rebuild (2026-06-22) after the "anchor × factor" defect: every scenario row carries data_basis ∈ Measured (real dispatch history — only B001 self-consumption €3.7k, B003 peak €69.9k, B005 backup €20.6k exist), Modeled (engine-derived; model reproduced measured B003 within ~4%), or Prospect (building has no battery — pure what-if). No caps anywhere in the data (R3 handles display); arbitrage corrected from a 3.3-yr cumulative to annual (€61k). Known open point: peak/TOU IRRs 40–64% are optimistic-but-not-fabricated (measured B003 = 63%); a dispatch-spread de-rate pass is a deliberate post-pilot item.

### 3.1.10 30_residential_gold + residential pipeline

Per-unit KPIs (gold_residential_unit_kpi): heating+DHW EUI per m² Wohnfläche, climate-adjustment factor, EPC band per unit, anonymised building benchmark pre-aggregated into each unit's own row (privacy §6). gold_residential_common_split: HKVO §7 common-area allocation = 70% consumption / 30% area. gold_residential_uvi_monthly: the monthly consumption statements (UVI) the EED/HKVO requires. Retrofit math for residential lives in the approved doc docs/strategy/residential-retrofit-calculations.md (ΔU × A × Gt × 24/1000 ÷ η — same family as §3.2.4).

### 3.1.11 Forecast & occupancy (Pages 4–5 support)

07_consumption_forecast (day-ahead consumption) and 08_occupancy_prediction (gold_occupancy_profile; OPTIMIZE wrapped non-critical — the post-reset failure noted in earlier sessions is fixed in the repo copy). Anomaly engine (anomaly_detection.py) implements rules A1–A7 (consumption spike ×1.5 vs 30-day same-hour baseline with weather guard, base-load >35% of peak, COP degradation <0.8×rated with outdoor-temp guard, PR <0.70 with irradiance guard, battery SoC conditions, weekend overuse >60% of weekday, climate-adjusted EUI +15% YoY) → gold_anomaly_log.

TR ÖZET —  Veri katmanının kalbi: 03 günlük KPI (PR=enerji-bazlı, 0.95 tavan), 03b toplam enerji defteri (Gradtag yöntemi; elektrik-only yanılgısını kökten çözer), 06+06b öneri motoru (fizik tavanları, HP=yakıt değişimi, NPV kapısı, EPC-ölçekli %35 toplam tavan; sıra 03b→06→06b kritik), 09 GHG (S1+S2 manşet, S3 ayrı ve "estimated"; canlı 6 kategori), 11c IoT arıza+€ etiketi, 16 dürüst batarya (Measured/Modeled/Prospect), 30 residential (HKVO 70/30, UVI). CRREM eğrileri lisans nedeniyle "illustrative" etiketli.

## 3.2 Backend service engines (FastAPI, Postgres-native)

### 3.2.1 Baseline KPI engine (baseline_kpi.py) — the Tier-1 upload path

Turns uploaded monthly consumption into real KPIs with zero Fabric dependency. ≥12 months → trailing-12 window (true annual run-rate); <12 months → monthly-average × 12, flagged is_annualized. EUI = annual kWh / floor area (not weather-corrected — stated). CO₂ per R1; cost = actual uploaded costs when every window month has one, else kWh × tariff (R2), flagged. 30-day tile figures = annual × 30/365.25 so Fabric and upload paths share semantics.

### 3.2.2 Provisional baseline estimate (baseline_estimate.py)

Before any bill exists: archetype total-final-energy intensity ranges by type (Office 120–220, Retail 180–320, Hotel 220–380, Healthcare 250–450, Logistics 40–110, Residential 100–240 kWh/m²·yr) × area → kWh/cost/CO₂ ranges with real factors (R1/R2). Datacenter deliberately unmodeled (IT load dominates — no number is better than a wrong one). Superseded the moment consumption exists.

### 3.2.3 Estimation engine (services/estimation/) — evidence stacking

The free data-estimation core (approved BMAD 2026-06-17): L0 archetype prior → L1 vintage repositioning within the band → L2 climate scaling of the heating fraction only (EUI' = EUI × (1−heat_frac + heat_frac × HDD/HDD_ref)) → L5 German Energieausweis class anchor (GEG Anlage 10 bands, blended by inverse-variance) → L4 partial-bill anchor (1–11 months annualised by heating-shape month weights; 12+ months = actual, confidence high). Area fallback chain: user → gold → footprint × storeys × 0.8 (very_low confidence). Cost/CO₂ use an A8 fuel-split (gas/oil/district heating share at fuel price+EF, remainder electricity) — electricity proxy only when the heating fuel is unknown. Every output = {low, point, high} + confidence + method string (e.g. archetype · vintage · hdd · epc · bill_6m).

### 3.2.4 Heating & envelope assessment (heating_assessment.py) — the Heating page

Works pre-Fabric (the wedge). Demand: measured total × type heating share (notebook-11 table: Office .35 … Education .48; Residential .60 stated) or archetype EUI × area, converted to metered fuel (HP → /JAZ 3.0, else /η 0.90). Fabric measures (roof/wall/window to GEG targets): GROSS transmission saving ΔU × A_element × 3500 Kd × 24/1000 (the approved residential doc, kept exactly and reported as saving_kwh_gross), then delivered = GROSS × gain-utilisation factor (Office 0.65 … Residential 0.85 — internal/solar gains already cover part of the load), then capped by the addressable share (68% of thermal demand — ventilation/DHW are not envelope-fixable). Element areas from archetype ratios (facade 0.48 / roof 0.17 / windows 0.13 of floor area); "before" U-values default to 1970s stock when unknown (flagged). Heat pump = fuel switch (gas € − elec@JAZ €), not a % saving. The package sequences measures cheapest-payback-first on the *remaining* load (non-additive), clamps at 72% total reduction, and reports CapEx ±30% / demand-band payback ranges plus a 2030-carbon-price sensitivity. Also derives: CO2KostAufG exposure, EPC class now/after on the German Endenergie scale anchored to the registered certificate when on file, EPBD MEPS milestone (G/H→2030, F→2033), GEG §71 status, CRREM intensity before/after.

### 3.2.5 CO2KostAufG allocation (co2_cost_allocation.py)

The landlord/tenant split of the heating-fuel CO₂ price. Residential: the statutory 10-step model on kg CO₂ per m² of Wohnfläche (0/100 below 12 kg → 95/5 above 52 kg); non-residential: flat 50/50 (the NWG step model is not yet in force). Heating-fuel CO₂ only (gas 0.201 kg/kWh BEHG; electricity and F-gases are outside the levy). Prices: 2026 = €65/t (nEHS corridor cap), ETS2 2028 = €80/t indicative. Residential per-unit breakdown = area-pro-rata (labelled an estimate — the statute splits the tenant part by measured consumption).

### 3.2.6 Financing engine (finance_model.py + financing.py)

Pure, deterministic, "support not advice": KfW 458 (30→70%, €30k/unit cap) and BAFA BEG EM (15→20% with iSFP, €30k/€60k per unit) with residential unit-count estimation (declared, else area/75 m²); carbon-price scenarios (conservative/base/high) anchored 2026 €60 → 2030 80/120/180 → 2050 150/250/350, linearly interpolated, BEHG corridor until ETS2 2028; NPV with 4% real discount + energy-inflation scenarios (1/3/5%) + carbon value per year; discounted payback; EPC "green premium" as an indicative 1.0–2.5% value uplift per band, capped 15%.

### 3.2.7 MACC (abatement.py)

Marginal abatement cost per measure over the visible portfolio: MAC €/t = (net_capex / lifetime − annual_saving) / annual_tCO₂ — undiscounted by design (stated); lifetimes from an engineering service-life table (envelope 30, PV 25, HVAC 18, battery/LED 12, controls 10, operational 5; default 15). Negative MAC = self-financing. Cheapest-first cumulative CO₂ builds the curve.

### 3.2.8 ESRS/VSME/GRESB metrics (esrs_metrics.py + report routes)

Reads mv_ghg_scope/mv_kpi_daily for the latest complete year (≥12 months; falls back to latest partial with an explicit reporting_months field → PartialYearNotice in every report). Scope 2 dual-reported (location + market). All-electric buildings flagged missing_gas are reclassified complete (no gas to report ≠ missing data). Energy in MWh, GHG intensity per m², renewable share from solar self-consumption. Labelled "ESRS-E1-aligned support" — never "CSRD-compliant" (legal-language decision).

### 3.2.9 Solar detail + telemetry rollup (solar_detail.py, solar_telemetry_rollup.py)

/solar is real-first, sample-fallback per building: buildings with telemetry in the 90-day window serve from gold_solar_daily (loader: generation = counter-delta or power-trapezoid integration with a 6-h gap guard; IEC PR NULL below 0.05 kWh/m² irradiation and clamped ≤ 1.1 — deliberately looser than the synthetic gold's 0.95 because a real POA sensor can read PR > 1.0 on cold clear days; self-consumption = ∫min(PV, load)dt only when a load meter exists — inverter-only sites get self_consumption_available = false, never an estimate, with a coverage % stating how much of generation is metered for the split). Portfolio PR is generation-weighted (Σ PR×gen / Σ gen; sample PR>1.1 building-days excluded as low-sun artefacts). Specific yield is annualised only over ≥350-day windows. data_basis = telemetry / simulated / sample / mixed.

### 3.2.10 Advisor & anomaly guides (frontend-adjacent)

buildingAdvisor.ts (deterministic Layer-1 "AI advisor"): type-aware indicative EUI bands (healthcare 250–450 … logistics 40–120, office 100–200), over-band €-gap estimate = gap × area × country price × 40–80% capture (explicit assumption string), EPC/MEPS insights, heating-system insights, asset gap-analysis (PV/battery/IoT), all ranked action > watch > info > good, max 6. Datacenters get a PUE note instead of EUI. The LLM copilot (§4) is wired separately (services/copilot/ orchestrator + tools + Anthropic provider with mock fallback).

TR ÖZET —  Backend motorları: yükleme yolunda gerçek KPI (trailing-12 / yıllıklaştırılmış bayraklı), fatura yokken arketip aralığı, kanıt-istifleyen tahmin motoru (arketip→yaş→iklim→EPC→ kısmi fatura), ısıtma değerlendirmesi (GROSS iletim × kazanım faktörü, %68 tavan, HP=yakıt değişimi, paket sıralaması), CO2KostAufG 10 basamak, KfW/BAFA + karbon senaryolu NPV, MACC, ESRS (tam-yıl seçimi + kısmi-yıl uyarısı), solar gerçek-önce (üretim-ağırlıklı PR, tahminsiz self-consumption), deterministik danışman. Hepsi aralık + varsayım etiketi taşır.

## 3.3 Frontend calculation libraries

lib/crrem.ts — CRREM-style stranding: annual operational intensity (prefers backend trailing-12M CO₂, falls back to annualised 30-day with caveat) vs illustrative 1.5 °C pathway; first crossing year = stranding year; milestones 2030/2033/2040/2050. lib/compliance.ts, taxonomy.ts (EU Taxonomy screening incl. EPC-validity), flexibility.ts (IoT-gated flexibility readiness), anomalyGuide.ts (per-rule explanations), glossary.ts (single-source term registry powering InfoTip tooltips — the planned method/assumptions extension is designed in docs/architecture/calc-transparency-plan.md). reportKit.tsx centralises print/PDF report formatting incl. fmtPayback (R3) and PartialYearNotice.

TR ÖZET —  FE hesap kütüphaneleri: CRREM stranding (trailing-12M CO₂ tercihli), taxonomy/ flexibility/anomali rehberleri, tek-kaynak glossary ve rapor kiti (payback guard + kısmi-yıl uyarısı).

# 4. Web application — module by module

All pages are English-UI, dark-theme Next.js (App Router), served from Vercel; every data call goes through the FastAPI backend with org-scoped visibility (§6). "Source" names the service that owns the numbers (documented in §3).

| Page | What it shows | Source of the numbers |
| --- | --- | --- |
| /dashboard | Org home: KPI tiles, advisor highlights, onboarding nudges | portfolio_metrics + baseline_kpi + advisor |
| /portfolio (+ report) | 30-day KPI tiles w/ deltas, per-building table (EUI trailing-12M coverage-aware — fixed in this audit, type-aware EUI bands), solar row | portfolio_metrics §3.2.x, euiBandFor |
| /buildings (+ import) | CRUD, bulk CSV import (expected-columns panel), baseline strip | buildings router, baseline_estimate/baseline_kpi |
| /buildings/[id] | Building cockpit: KPIs, advisor panel, heating assessment, residential rollup, reports hub | heating_assessment, advisor, residential_manager_metrics |
| /buildings/[id]/report + per-building reports (EPC, CO₂, GEG, residential) | Print/PDF documents | reportKit + the §3.2 engines |
| /actions (+ report) | Recommendation catalog w/ status workflow, savings/payback/priority | gold_recommendations (06/06b) via actions_data |
| /alerts (+ report) | Grouped anomaly queue (distinct open types), severity, est. € | gold_anomaly_log + anomalyGuide |
| /hvac | Heating & envelope decision page (measures, package, GEG, EPC path) | heating_assessment |
| /solar | Portfolio solar: generation, gen-weighted PR, self-consumption (coverage-aware), yield; building slicer; DataBasisBadge | solar_detail §3.2.9 |
| /compliance (+ 8 report routes) | MEPS radar, CRREM stranding, ESRS-E1, VSME, GHG inventory, GRESB, EnEfG, Taxonomy, Flexibility; scorecard hero | esrs_metrics, compliance libs, geg_conformity, co2_cost_allocation |
| /decarbonisation (+ report) | MACC curve + measure table | abatement §3.2.7 |
| /financing (+ report) | Subsidy matcher, carbon-scenario NPV, green premium | finance_model/financing §3.2.6 |
| /copilot | LLM copilot over the user's own buildings (tool-calling) | copilot orchestrator + Anthropic provider |
| /connections | Device/agent onboarding (Tier 2/3), test telemetry, VerifyPanel, freshness | ingest router, device_templates |
| /onboarding | Self-serve wizard + Data Score | building_readiness / bridge_readiness |
| /residential, /residence (+ enter, report) | Manager rollup vs resident self-view (UVI, unit KPI, common split) | residential(_manager)_metrics §3.1.10 |
| /demo | Public no-login sample tour (own fallback dataset, clearly sample) | demo_data |
| /pilot, /partners, /pricing, /tour, /glossary | Lead capture → /admin queue; installer marketplace Phase 0; plans; guided tour; term registry | pilot/installer/billing routers |
| /admin | Lead queue, org/user admin, audit views | admin router |
| /settings, /login+auth pages | Org/profile/billing settings; email+OAuth auth, invite, password reset (code-complete; activation pending §8) | settings/auth routers |

Report generation. 20 print-grade documents (portfolio, building, actions, alerts, compliance family, financing, residential family…) share reportKit (A4 landscape, brand header, footer, partial-year notice). Server-side PDF download runs headless Chromium (18 routes live since fe420b2); every report re-reads its backend endpoint — reports and app can never disagree.

Billing. Stripe wiring is code-complete (Free/Basic €99/Monitor €299/Enterprise; Residential €49/building + €3/unit); activation is founder-run ops, not code.

TR ÖZET —  ~30 sayfalık uygulamanın her modülü tek bir backend servisinden beslenir (tablo). 20 rapor tek reportKit'ten çıkar ve aynı endpoint'i okuduğu için app ile rapor asla çelişmez; PDF'ler sunucu tarafında headless Chromium ile üretilir. Stripe kodu hazır, aktivasyon operasyonel.

# 5. Power BI report

Model. EnergyCopilotModel — DirectLake on the gold Delta tables, 329 measures (live dump regenerated into semantic-model/measures_dump.txt), star-ish schema: every fact keyed to silver_building_master[building_id] and a marked Date table (relationship dump alongside). RLS: DirectLake + fixed-identity (service principal) + CUSTOMDATA-driven roles — the model's data source uses the SP (SSO off) so embedded customers are isolated (verified: cp2_embed_rls_live). Report-level measures exist that model dumps cannot see (documented gotcha) — the definitive visual truth is the PBIX, page-finalisation state below.

Pages (all 10 finalised decision-grade, 2026-06-18 → 06-22 sessions):

| # | Page | Core content & the measures that matter |
| --- | --- | --- |
| 1 | Portfolio Overview | 5 KPI cards (totals = plain Card+SUM — the AVG-card bug class is closed; EUI card = AVG correctly), portfolio scorecard |  |
| 2 | Energy Consumption | consumption trends, time-grain switches, solar overlay |
| 3 | Solar Production | generation, self-consumption, PR (energy-basis from §3.1.1) |
| 4 | Savings & Forecast | recommendation savings (post-06b calibrated), consumption forecast |
| 5 | Occupancy | occupancy heat-map (Day Name), headcount decision support |
| 6 | Sustainability | GHG by scope (real gas Scope 1 — the €166k phantom levy fix), CO₂ trend annualised, compliance scorecard |
| 7 | HVAC | COP rated-vs-actual, envelope insulation score, CO₂ annualised, heat-loss badge |
| 8 | IoT Monitoring | live power/comfort/CO₂ cards, sensor matrix, FDD alert table with Est. € (gold_iot_fdd single-source; C4 card verified €81.14 ↔ app 1:1); freshness = MAX(event_date)+REMOVEFILTERS (DirectLake-safe) |
| 9 | Battery | honest simulation (Measured/Modeled/Prospect via data_basis), C2 = installed-battery payback, building_name on rows |
| 10 | Solar Ops | PR distribution (gen-weighted, conditional colour, 0–100 axis), PV underperformance €-loss (target PR 0.80: lost = gen × (0.80/PR − 1) at the building's own effective tariff) |

Open cosmetics (Desktop-only, listed in §8): Page 6 D2 levy Goal/D4 blank + CO₂ visual rebind; Page 8 matrix rounding, slicer removal, "Active Zones" rename; Page 9 data_basis badge on the table + B001 umlaut re-run. Model hygiene: legacy capped measures (C2/V3/Scenario Payback ≤25) and a flat Avg Solar PR Pct remain in the model alongside the corrected report-side versions — schedule a Tabular-Editor cleanup pass so nothing ever rebinds to a stale measure (§8).

Embed. User-owns-data embed in the app (page GUID navigation, FitToPage, persistentFilters, embed-token caching + circuit breaker). Known performance ceiling is report design (186 visuals / 20-22 per page / 45 slicers), not storage mode — the paused-capacity warmup and visual-count reduction are the levers (runbook docs/runbooks/pbi-perf-diagnosis-2026-06-24.md).

TR ÖZET —  329 ölçülü DirectLake modeli + 10 sayfanın tamamı karar-kalitesinde kapandı; RLS fixed-identity SP + CUSTOMDATA ile müşteri izolasyonu canlı doğrulandı. Kalan işler kozmetik (Sayfa 6/8/9) + model temizliği (eski cap'li ölçüler). Performansın sınırı depolama modu değil görsel yoğunluğu.

# 6. Access control & security

Three confirmed layers: RLS (data) — Power BI CUSTOMDATA roles + org-scoped SQL (building_id IN (visible set)) in every backend query; customer data never crosses org boundaries even on the sample org. App navigation (module) — Next.js gates pages on subscription + connected inventory (no IoT → Page 8 locked; no battery → Page 9 locked). Subscription (commercial) — plan gates in Postgres/FastAPI. Resident privacy is by construction: the resident view only ever queries the resident's own unit_ids; the building benchmark is pre-aggregated into each unit's own gold row, so no cross-unit read exists at any layer. Auth: JWT + OAuth (Microsoft/Google), org invites, self-service password reset (Resend) code-complete pending activation. Agent ingestion uses scoped agent tokens.

TR ÖZET —  Üç katman: RLS (veri) + uygulama navigasyonu (modül) + abonelik (ticari). Resident gizliliği sorgu tasarımıyla garanti (benchmark kendi satırında). Auth: JWT/OAuth + davet + şifre sıfırlama (aktivasyon bekliyor).

# 7. Data provenance & the honesty layer

The platform's differentiator is that it states what it knows and how well: data_basis (telemetry/simulated/sample/mixed) on solar and battery, Measured/Modeled/Prospect on battery scenarios, measured/estimated demand bases with band widths (±10% vs ±25%), actual/estimated cost bases, confidence grades on every estimate (high…very_low), grid-factor provenance strings, partial-year notices on all annual reports, "indicative/illustrative" labels on benchmark bands and CRREM curves, disclosure_grade=false on Scope 3, and Datacenter-EUI refusal. The remaining gap to close with the first pilot: replacing the synthetic seed with a real building's bills — the entire §3 pipeline is the same; only the labels flip.

TR ÖZET —  Her sayı kaynağını, güvenini ve bandını taşır; sentetik veri her yerde etiketli. İlk pilot binayla değişecek tek şey etiketler — hesap zinciri aynı.

# 8. Audit 2026-07-03

## 8.1 Verified in this audit

Backend engines (§3.2) formula-checked against approved docs; Fabric notebooks (§3.1) checked for the approved knobs (PHI_HDD 1.5, C_ENV 1.5, PR clamp 0.95, 06b caps, §9c gate, FDD € logic); live Supabase mirror checked read-only (PR max 0.95 ✓, FDD 38 rows & €81.14 chain ✓, GHG 6-category live schema ✓, rec aggregate ≤35% ✓); live site up (landing, correct EU 2023/1542 reference); PBI model dump = fresh live export, 329 measures; report/app single-source confirmed for FDD costs.

## 8.2 Fixed in this audit (applied to the working tree — commit + push pending)

- /actions payback display: operational-measure threshold 50 → 40 yr (aligns R3; live data briefly showed "41.8 yr"). components/actions/ActionsTable.tsx

- Advisor text: no longer quotes a payback ≥ 40 yr in the "biggest opportunity" line. lib/insights/buildingAdvisor.ts

- Portfolio EUI (⚠ energy-logic change — review): building-row EUI now = trailing-12-month energy annualised over actual day coverage (kwh_365 × 365.25/days ÷ area), 30-day fallback for new buildings. Removes the seasonal bias of annualising one month; consistent with co2_365 and the EUI benchmark bands. services/portfolio_metrics.py

- Stale sensitivity note in heating assessment: hardcoded "~149 €/t" → dynamic base-2030 carbon price (currently €120/t) + accurate wording. services/heating_assessment.py

- 03b sanity print now groups by year (a multi-year SUM previously read ~3× annual EUI).

- crrem.ts stale docstring updated (code already used trailing-12M CO₂).

- Repo hygiene: tracked AppChrome.tsx.bak removed from the index; *.bak gitignored.

- Vercel production build repaired (broken since 1bbfbe2, 06-29): PartialYearNotice was imported from @/lib/crrem instead of ./reportKit in the ESRS-E1 and VSME report documents; fixed, tsc --noEmit clean, deploy ea0a825 Ready in Production.

- Ingest/SCADA pass (post-doc audit): telemetry rollup's stale "same cap as 03" comment corrected — measured-telemetry PR ceiling 1.1 (POA basis) is deliberate vs the synthetic gold's 0.95.

## 8.3 Punch list — to close before saying "waiting for the first pilot building"

| # | Item | Owner / where |
| --- | --- | --- |
| P1 | Fabric re-run in order: 03b → 06 → 06b → 50-materialize → PBI Service refresh. Live mv_recommendations is currently post-06/pre-06b (B007 battery 115.2 yr, B003 41.8 yr visible to SQL; app now guards, but the data must be re-calibrated). Commit the uncommitted 06 improvements (BMS-aware CapEx + annualisation + ceilings — compiles clean) first. | Mert (Fabric) |
| P2 | Re-materialize scope: mv_building_master has 10 rows vs 14 in mv_kpi_daily (B012–B015 orphans); mv_sync_log only logs 3 tables. Extend the live 50-materialize TABLES dict + logging. | Mert (Fabric) |
| P3 | Mirror live notebooks into the repo: live 09 GHG (6-category Scope 3) and live 50-materialize (TABLES-dict version) differ from the repo copies; nb16 is mirrored but sits in _deferred/ with a stale README. | Mert paste → repo |
| P4 | Password-reset activation: Resend account + DNS + FRONTEND_BASE_URL + alembic upgrade head (head c1d2e3f4a5b6) + deploy. Add rate-limiting follow-up. | Mert (ops) |
| P5 | PBI Desktop cosmetics: Page 6 D2/D4 + CO₂ rebind; Page 8 ×3; Page 9 data_basis badge + umlaut. Then a Tabular-Editor cleanup of stale measures (capped C2/V3/Scenario Payback, flat Avg Solar PR Pct) after confirming page bindings. | Mert (Desktop) |
| P6 | Push this audit's fixes + build check (npm run build locally = Vercel parity), then deploy backend (portfolio EUI change) . | Mert (git/ops) |
| P7 | Approve/adjust the two flagged energy-logic changes: portfolio trailing-12M EUI (8.2-3) and the 06 WIP parameters (BMS_SAVING_CEILING 20, HVAC ceiling 15 kWh/m²·yr, RCx €2.5/m²+€6k, install €28/m²). | Mert (energy review) |
| P8 | Post-pilot (explicitly deferred, not blockers): battery dispatch-spread de-rate pass; official CRREM licence swap-in; calc-transparency tooltips build-out; Stripe/billing activation; Fly.io/Azure move decision for Fabric SQL egress. | backlog |

Bottom line. With P1–P2 (one Fabric session) and P4–P6 (one ops session) done, the platform is accurately describable as "code-complete and audited — waiting for the first pilot building."

TR ÖZET —  Bu denetimde 7 düzeltme uygulandı (en önemlisi: /actions 40-yıl guard'ı ve portföy EUI'sinin trailing-12-ay'a geçmesi — ikisi de onayına işaretli). Kalan 6 kalem senin elinde: bir Fabric oturumu (03b→06→06b→materialize sırası + mirror), bir ops oturumu (password-reset, push, PBI kozmetik). Bunlar bitince "app bitti, ilk pilot binayı bekliyor" cümlesi teknik olarak doğru.

*Cross-references: docs/business-logic/kpi-formulas.md (KPI/anomaly rule catalog), docs/strategy/total-energy-ledger.md (Path A design), docs/strategy/residential-retrofit-calculations.md (approved retrofit math), docs/architecture/* (estimation engine, access model, IoT/FDD, SCADA), docs/report-documentation/EnergyLens_Report_Technical_Documentation.docx (per-visual PBI detail), docs/runbooks/* (operational runbooks).*